## Shops
Energy savings calculator for farm shops
Building dimensions
| rise | run | slope
Roof slope: | 3 | 12 | 0.25
Height
Heated | width | length | wall | peak | Area (ft^2)
space | ft | ft | ft | ft | Floor | Wall | Roof
Existing | 60 | 150 | 16 | 23.5 | 9000 | 6720 | 9276.9877
New | 60 | 150 | 12 | 12 | 9000 | 5040 | 9000
Insulation data
Heated | Insulation | A/R
Space | R-value | Wall | Roof | Total
Existing | 6.0006 | 1119.8808 | 1546 | 2665.8808
New | 19.0275 | 839.9106 | 473 | 1312.9106
| Del A/R | 279.9702 | 1073 | 1352.9702
Energy calculations (amount, savings and payback)
HDD = Heating Degree Days (Nov - Mar) [2 yr avg]
Del Q = Del A/R * HDD * 24
Del Fuel = estimated fuel savings
HDD | 3700
Del Q | 120.1438 | MBtu/y |  | Fuel | Energy | Unit
Fuel | 92000 | Btu/unit |  | LP gas | 92000 | gal
Efficiency | 80 | % |  | Natural gas | 1000 | cubic feet
Del Fuel | 1632.3879 | unit/y |  | Oil | 110000 | gal
Fuel price | 1.5 | $/unit
~ Savings | 2448.5819 | per yr
Investment | 20000 | $
Payback | 8.168 | yrs
Prepared by: Doug Overhults, PhD, PE; and Sam McNeill, PhD, PE
Extension Agricultural Engineers
Biosystems and Agricultural Engineering Department
University of Kentucky Research and Education Center
Princeton, KY 42445-0469
270-365-7541
doug.overhults@uky.edu or smcneill@uky.edu

## Conveyors
Grain handling equipment comparison
| Electrical cost | 10 | cents/kwh
| Annual capacity |  |  |  | Transfers | Bushels
|  | Corn | Beans | Total | per y | per y
| Acres | 750 | 750
| Yield (bu/ac) | 150 | 50
| Bushels | 112500 | 37500 | 150000 | 2 | 300000
Ownership and maintance costs
|  | Initial | Expected | Salvage |  |  | Taxes,
|  | cost | life | value | Depreciation | Repairs | Ins., Int.
System | Description | $ | y | $ | $ | % | % | $/y | $/bu
Existing | Pneumatic conveyor | 40000 | 10 | 4000 | 3600 | 5 | 10 | 4140 | 0.0138
New | Bucket elevator | 60000 | 20 | 6000 | 2700 | 2 | 10 | 3024 | 0.01008
Difference | [7 empty] | 1116 | 0.00372
Operating costs
|  |  | Handling | Operating
|  | Motor(s) | capacity | time | Energy required |  | Annual Cost
System | Description | hp | bu/h | h | hp-h | kwh | $/y | cents/bu
Existing | Pneumatic conveyor | 21 | 440 | 681.8182 | 14318.1818 | 14318.1818 | 1431.8182 | 0.47727
New | Bucket elevator | 15 | 2500 | 120 | 1800 | 1800 | 180 | 0.06
Difference | [5 empty] | 12518.1818 | 1251.8182 | 0.41727
| Energy savings | 87.43%
| Energy savings | 42.7246 | MBtu
| Ownership savings | 1116 | per yr
| Energy cost savings | 1251.8182 | per yr
| Total cost savings | 2367.8182 | per yr
| Investment | 60000 | $
| Payback | 25.3398 | yrs
Prepared by: Sam McNeill, PhD, PE
Extension Agricultural Engineer
Biosystems and Agricultural Engineering Department
University of Kentucky Research and Education Center
Princeton, KY 42445-0469
270-365-7541 x 213
smcneill@uky.edu